## Worksheet 1
Sensing technique | Soil attribute | Advantages | Limitations
vis–NIR | Soil organic C | Rapid and easy to use. | Empirical, requires calibration.
|  | Inexpensive measurements. | Calibration requires expertise.
|  | Relatively accurate. | Surface measurement.
|  | Samples can be wet, under field conditions. | Requires correction for water.
Non-destructive.
No sample pre-treatment required; no harmful chemicals.
Effects of water on soil organic C estimation can be corrected.
Robust field instruments available and becoming more affordable.
mid-IR | Soil organic C | Rapid measurement. | Empirical, requires calibration.
|  | Inexpensive measurements. | Need to dry and grind soil samples.
|  | No harmful chemicals. | Calibration requires expertise.
|  | Non-destructive. | Surface measurement.
|  | Accurate predictions on dried, ground samples. | Corrections for water need testing.
|  | Few portable instruments but becoming more available. | Few studies on estimating C in the field.
AGA transmission | Bulk density | Rapid. | Requires soil core sampling.
|  | Accurate. | Needs independent measure of water content.
|  | Inexpensive sensor and measurements. | Needs construction of a set-up.
|  | Non-destructive. | Uses active radiation.
|  | Allows characterization of variability vertically and laterally. | Requires SOP and regulatory approval.
|  | Can estimate stocks on fixed-depth and ESM basis. | Requires a licensed operator.
Instrumentation readily available.
AGA backscatter | Bulk density | Non-destructive. | Requires pit for active gamma/neutron source.
|  | Does not require sampling of intact core. | Variable accuracy reported.
|  | Commercial instrumentation available. | Needs independent measure of water content.
Uses active radiation
Requires SOP and regulatory approval.
Requires a licensed operator.