## Worksheet 1
Consideration | Issues | Recommendations
Soil type | Responses to storage methods vary between soil types. | When working with different soil types, we recommend making comparisons between storage methods for each soil type.
Time points | Limited by resources. | Choose a reasonable set of time points within resource limitations. Include best- and worst-case scenario for the timeframe that you typically need to analyse samples after collection.
Scaling | Pseusoreplication, reproducibility. | Do not scale your soils or extracts for storage up (bulk storage) or down. The same weight or volume of soil or extract must be stored separately for each storage treatment and time point as the one planned for the main experiment.
Extraction matrix | Each extraction matrix will respond differently to each storage method. | Storage methods for each extraction matrices should be considered separately.
Extraction methods | Extractant volumes, shaking times, centrifugation times and filter types can influence measurements. | Use the same extraction methods throughout all storage treatments and for baseline measurements. Where possible, utilise standardised methods (e.g. Halbritter et al., 2020).
Baseline1 | Without reliable baseline measurements, conclusions on best storage practice cannot be made. | Double the number of replicates for this time point (day 0) and ensure analysis is carried out immediately after soil collection.
Replicates | Heterogeneity. | Generally, we recommend as many replicates as one can afford to have but recommend no fewer than four as suggested by Jones and Willet (2006). For more guidance on choosing the number of replicates, we advise researchers to utilise the sample size calculator formula from Cochran and Cox (1957, p. 20).
| Pseudoreplication. | Do not take replicates from same sampling location; ensure replicates capture the range of soil variability.
Do not store soils or extracts in bulk.
Blanks | Some storage vessels can leachDOC. | Ensure you have a minimum of three replicate blanks for each extract type, storage method and time point.
Setting your upper and lower similarity limit2 | Heterogeneity. | Replicated baseline measurements of the same soil sample will indicate the level of variation in measurements due to subsampling, handling (e.g. filtering) and instrument (e.g. calibration and accuracy) effects. This variation can inform the decision on the similarity limits, or you can choose to accept a 10 % or 20 % upper and lower limit.
Deciding on the best storage practice | When working with more than one soil type. | Samples should be subjected to the same storage method and length that is deemed appropriate for all soil types. For example, we found that it is appropriate to store brown earth subsoils at 4 ∘C for less than a month to quantify DOC and DON by water extractions (Table 2). However, for brown earth topsoils, we found that this storage method was only appropriate for soils stored for less than a week, thus limiting the storage length to 1 week for both soil types.